{"text_format":"3","workbook":"xlsx","n_sheets":13,"sheets":["1.1 A.1 招标工程量清单封面","1.2 B.1 招标工程量清单扉页","2.1 D.2 单项工程最高投标限价汇总表","3.1 E.1 分部分项工程量清单计价表","3.2 附录F 措施项目清单计价表","3.3 附录G 不可竞争项目清单与计价表","3.4 H.1 其他项目清单与计价汇总表","3.5 附录I 税金计价表","4.1 E.1 分部分项工程量清单计价表","4.2 附录F 措施项目清单计价表","4.3 附录G 不可竞争项目清单与计价表","4.4 H.1 其他项目清单与计价汇总表","4.5 附录I 税金计价表"],"not_rendered":{"defined_names":13},"read":"whole","date_system":"1900"}

{"sheet":"1.1 A.1 招标工程量清单封面","index":0,"n_rows":16,"n_cols":9,"rows_kept":16,"merged":[[2,2,2,8],[4,1,5,7],[4,8,5,9],[8,0,8,10],[10,3,10,4],[10,5,10,6],[11,5,11,6],[14,3,14,4],[14,5,14,6],[15,5,15,6],[18,4,18,5]]}
[]
[]
[null,null,"A.1 招标工程量清单封面"]
[]
[null,"进出口基地综合楼北侧二层房屋改造项目",{"$nulls":6},"工程"]
[]
[]
[]
["招标工程量清单"]
[]
[{"$nulls":3},"招  标  人："]
[{"$nulls":5},"（单位盖章）"]
[]
[]
[{"$nulls":3},"造价咨询人："]
[{"$nulls":5},"（单位盖章）"]

{"sheet":"1.2 B.1 招标工程量清单扉页","index":1,"n_rows":18,"n_cols":9,"rows_kept":18,"merged":[[1,4,1,8],[3,2,3,7],[3,8,3,9],[5,0,5,11],[7,1,7,2],[7,3,7,4],[7,7,7,10],[8,3,8,4],[8,7,8,10],[10,1,11,2],[10,3,11,4],[10,6,11,6],[11,7,11,10],[12,3,12,4],[12,7,12,10],[14,1,14,2],[14,3,14,4],[14,7,14,10],[15,3,15,4],[15,7,15,10],[17,1,17,2],[17,3,17,4],[17,7,17,10]]}
[]
[{"$nulls":4},"B.1 招标工程量清单扉页"]
[]
[null,null,"进出口基地综合楼北侧二层房屋改造项目",{"$nulls":5},"工程"]
[]
["招标工程量清单"]
[]
[null,"招  标  人：",{"$nulls":4},"造价咨询人："]
[{"$nulls":3},"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[null,"法定代表人\n或其授权人：",{"$nulls":4},"法定代表人\n或其授权人："]
[]
[{"$nulls":3},"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[null,"编  制  人：",{"$nulls":4},"复  核  人："]
[{"$nulls":3},"（造价人员签字盖专用章）",{"$nulls":3},"（造价工程师签字盖专用章）"]
[]
[null,"编 制 时 间：",{"$nulls":4},"复 核 时 间："]

{"sheet":"2.1 D.2 单项工程最高投标限价汇总表","index":2,"n_rows":46,"n_cols":8,"rows_kept":46,"merged":[[0,0,0,7],[1,0,1,2],[1,6,1,7],[2,0,3,0],[2,1,3,3],[2,4,3,4],[2,5,2,7],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,1,40,3],[40,5,40,6],[42,0,42,3],[42,5,42,6],[44,2,44,7],[45,0,45,7]]}
["D.2 单项工程最高投标限价汇总表"]
["工程名称：进出口基地综合楼北侧二层房屋改造项目",{"$nulls":5},"第1页 共1页"]
["序号","单位工程名称",null,null,"金额(元)","其中：（元）"]
[{"$nulls":5},"暂估价",null,"不可竞争费"]
["1","融城宿舍改造(没有卫生间）",null,null,"146249.60","",null,""]
["2","融城宿舍改造(现有卫生间）",null,null,"55137.60","",null,""]
{"$rows_empty":36}
["合计",{"$nulls":3},"201387.20","",null,""]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["说明：本表适用于单项工程最高投标限价或投标报价的汇总。暂估价包括分部分项工程中的材料、设备暂估价和专业工程暂估价。"]

{"sheet":"3.1 E.1 分部分项工程量清单计价表","index":3,"n_rows":121,"n_cols":14,"rows_kept":121,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,13],[3,8,4,8],[3,9,4,9],[3,10,3,13],[4,10,4,11],[5,0,6,0],[5,1,6,1],[5,2,6,3],[5,4,6,4],[5,5,6,6],[5,7,6,7],[5,8,6,8],[5,9,6,9],[5,10,6,11],[5,12,6,12],[5,13,6,13],[7,0,8,0],[7,1,8,1],[7,2,8,3],[7,4,8,4],[7,5,8,6],[7,7,8,7],[7,8,8,8],[7,9,8,9],[7,10,8,11],[7,12,8,12],[7,13,8,13],[9,0,10,0],[9,1,10,1],[9,2,10,3],[9,4,10,4],[9,5,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,11],[9,12,10,12],[9,13,10,13],[11,0,12,0],[11,1,12,1],[11,2,12,3],[11,4,12,4],[11,5,12,6],[11,7,12,7],[11,8,12,8],[11,9,12,9],[11,10,12,11],[11,12,12,12],[11,13,12,13],[13,0,14,0],[13,1,14,1],[13,2,14,3],[13,4,14,4],[13,5,14,6],[13,7,14,7],[13,8,14,8],[13,9,14,9],[13,10,14,11],[13,12,14,12],[13,13,14,13],[15,0,16,0],[15,1,16,1],[15,2,16,3],[15,4,16,4],[15,5,16,6],[15,7,16,7],[15,8,16,8],[15,9,16,9],[15,10,16,11],[15,12,16,12],[15,13,16,13],[17,2,17,3],[17,5,17,6],[17,10,17,11],[18,2,18,3],[18,5,18,6],[18,10,18,11],[19,2,19,3],[19,5,19,6],[19,10,19,11],[20,0,20,13],[22,3,22,13],[23,0,23,13],[24,0,24,5],[24,6,24,10],[24,11,24,13],[25,0,27,0],[25,1,27,1],[25,2,27,3],[25,4,27,4],[25,5,27,6],[25,7,27,7],[25,8,25,13],[26,8,27,8],[26,9,27,9],[26,10,26,13],[27,10,27,11],[28,0,29,0],[28,1,29,1],[28,2,29,3],[28,4,29,4],[28,5,29,6],[28,7,29,7],[28,8,29,8],[28,9,29,9],[28,10,29,11],[28,12,29,12],[28,13,29,13],[30,0,31,0],[30,1,31,1],[30,2,31,3],[30,4,31,4],[30,5,31,6],[30,7,31,7],[30,8,31,8],[30,9,31,9],[30,10,31,11],[30,12,31,12],[30,13,31,13],[32,0,33,0],[32,1,33,1],[32,2,33,3],[32,4,33,4],[32,5,33,6],[32,7,33,7],[32,8,33,8],[32,9,33,9],[32,10,33,11],[32,12,33,12],[32,13,33,13],[34,0,35,0],[34,1,35,1],[34,2,35,3],[34,4,35,4],[34,5,35,6],[34,7,35,7],[34,8,35,8],[34,9,35,9],[34,10,35,11],[34,12,35,12],[34,13,35,13],[36,0,37,0],[36,1,37,1],[36,2,37,3],[36,4,37,4],[36,5,37,6],[36,7,37,7],[36,8,37,8],[36,9,37,9],[36,10,37,11],[36,12,37,12],[36,13,37,13],[38,0,39,0],[38,1,39,1],[38,2,39,3],[38,4,39,4],[38,5,39,6],[38,7,39,7],[38,8,39,8],[38,9,39,9],[38,10,39,11],[38,12,39,12],[38,13,39,13],[40,2,40,3],[40,5,40,6],[40,10,40,11],[41,2,41,3],[41,5,41,6],[41,10,41,11],[42,2,42,3],[42,5,42,6],[42,10,42,11],[43,2,43,3],[43,5,43,6],[43,10,43,11],[44,2,44,3],[44,5,44,6],[44,10,44,11],[45,0,45,13],[46,3,46,13],[47,0,47,13],[48,0,48,5],[48,6,48,10],[48,11,48,13],[49,0,51,0],[49,1,51,1],[49,2,51,3],[49,4,51,4],[49,5,51,6],[49,7,51,7],[49,8,49,13],[50,8,51,8],[50,9,51,9],[50,10,50,13],[51,10,51,11],[52,0,53,0],[52,1,53,1],[52,2,53,3],[52,4,53,4],[52,5,53,6],[52,7,53,7],[52,8,53,8],[52,9,53,9],[52,10,53,11],[52,12,53,12],[52,13,53,13],[54,0,55,0],[54,1,55,1],[54,2,55,3],[54,4,55,4],[54,5,55,6],[54,7,55,7],[54,8,55,8],[54,9,55,9],[54,10,55,11],[54,12,55,12],[54,13,55,13],[56,0,57,0],[56,1,57,1],[56,2,57,3],[56,4,57,4],[56,5,57,6],[56,7,57,7],[56,8,57,8],[56,9,57,9],[56,10,57,11],[56,12,57,12],[56,13,57,13],[58,0,59,0],[58,1,59,1],[58,2,59,3],[58,4,59,4],[58,5,59,6],[58,7,59,7],[58,8,59,8],[58,9,59,9],[58,10,59,11],[58,12,59,12],[58,13,59,13],[60,0,61,0],[60,1,61,1],[60,2,61,3],[60,4,61,4],[60,5,61,6],[60,7,61,7],[60,8,61,8],[60,9,61,9],[60,10,61,11],[60,12,61,12],[60,13,61,13],[62,0,63,0],[62,1,63,1],[62,2,63,3],[62,4,63,4],[62,5,63,6],[62,7,63,7],[62,8,63,8],[62,9,63,9],[62,10,63,11],[62,12,63,12],[62,13,63,13],[64,2,64,3],[64,5,64,6],[64,10,64,11],[65,0,65,13],[66,3,66,13],[67,0,67,13],[68,0,68,5],[68,6,68,10],[68,11,68,13],[69,0,71,0],[69,1,71,1],[69,2,71,3],[69,4,71,4],[69,5,71,6],[69,7,71,7],[69,8,69,13],[70,8,71,8],[70,9,71,9],[70,10,70,13],[71,10,71,11],[72,0,73,0],[72,1,73,1],[72,2,73,3],[72,4,73,4],[72,5,73,6],[72,7,73,7],[72,8,73,8],[72,9,73,9],[72,10,73,11],[72,12,73,12],[72,13,73,13],[74,0,75,0],[74,1,75,1],[74,2,75,3],[74,4,75,4],[74,5,75,6],[74,7,75,7],[74,8,75,8],[74,9,75,9],[74,10,75,11],[74,12,75,12],[74,13,75,13],[76,0,77,0],[76,1,77,1],[76,2,77,3],[76,4,77,4],[76,5,77,6],[76,7,77,7],[76,8,77,8],[76,9,77,9],[76,10,77,11],[76,12,77,12],[76,13,77,13],[78,0,79,0],[78,1,79,1],[78,2,79,3],[78,4,79,4],[78,5,79,6],[78,7,79,7],[78,8,79,8],[78,9,79,9],[78,10,79,11],[78,12,79,12],[78,13,79,13],[80,0,81,0],[80,1,81,1],[80,2,81,3],[80,4,81,4],[80,5,81,6],[80,7,81,7],[80,8,81,8],[80,9,81,9],[80,10,81,11],[80,12,81,12],[80,13,81,13],[82,0,83,0],[82,1,83,1],[82,2,83,3],[82,4,83,4],[82,5,83,6],[82,7,83,7],[82,8,83,8],[82,9,83,9],[82,10,83,11],[82,12,83,12],[82,13,83,13],[84,2,84,3],[84,5,84,6],[84,10,84,11],[85,2,85,3],[85,5,85,6],[85,10,85,11],[86,2,86,3],[86,5,86,6],[86,10,86,11],[87,2,87,3],[87,5,87,6],[87,10,87,11],[88,0,88,13],[90,3,90,13],[91,0,91,13],[92,0,92,5],[92,6,92,10],[92,11,92,13],[93,0,95,0],[93,1,95,1],[93,2,95,3],[93,4,95,4],[93,5,95,6],[93,7,95,7],[93,8,93,13],[94,8,95,8],[94,9,95,9],[94,10,94,13],[95,10,95,11],[96,0,97,0],[96,1,97,1],[96,2,97,3],[96,4,97,4],[96,5,97,6],[96,7,97,7],[96,8,97,8],[96,9,97,9],[96,10,97,11],[96,12,97,12],[96,13,97,13],[98,0,99,0],[98,1,99,1],[98,2,99,3],[98,4,99,4],[98,5,99,6],[98,7,99,7],[98,8,99,8],[98,9,99,9],[98,10,99,11],[98,12,99,12],[98,13,99,13],[100,0,101,0],[100,1,101,1],[100,2,101,3],[100,4,101,4],[100,5,101,6],[100,7,101,7],[100,8,101,8],[100,9,101,9],[100,10,101,11],[100,12,101,12],[100,13,101,13],[102,0,103,0],[102,1,103,1],[102,2,103,3],[102,4,103,4],[102,5,103,6],[102,7,103,7],[102,8,103,8],[102,9,103,9],[102,10,103,11],[102,12,103,12],[102,13,103,13],[104,2,104,3],[104,5,104,6],[104,10,104,11],[105,2,105,3],[105,5,105,6],[105,10,105,11],[106,2,106,3],[106,5,106,6],[106,10,106,11],[107,2,107,3],[107,5,107,6],[107,10,107,11],[108,2,108,3],[108,5,108,6],[108,10,108,11],[109,2,109,3],[109,5,109,6],[109,10,109,11],[110,2,110,3],[110,5,110,6],[110,10,110,11],[111,2,111,3],[111,5,111,6],[111,10,111,11],[112,2,112,3],[112,5,112,6],[112,10,112,11],[113,2,113,3],[113,5,113,6],[113,10,113,11],[114,2,114,3],[114,5,114,6],[114,10,114,11],[115,2,115,3],[115,5,115,6],[115,10,115,11],[116,2,116,3],[116,5,116,6],[116,10,116,11],[117,2,117,3],[117,5,117,6],[117,10,117,11],[118,0,118,13],[120,3,120,13]]}
["E.1 分部分项工程量清单计价表"]
["工程名称：融城宿舍改造(没有卫生间）",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共5页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["1","ZB010101001001","平顶",null,"1、项目特性：轻钢龙骨骨架或木方骨架，9mm厚石膏板封面，干壁钉固定，单层泰山石膏板\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"64.000"]
[]
["2","ZB010101001003","木地板",null,"1、项目特征：复合木地板铺贴，人工，辅材\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m",null,"64.000"]
[]
["3","ZB010101001004","顶面乳胶漆",null,"1、项目特征：腻子粉打底，找平打磨，立邦漆\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"64.000"]
[]
["4","ZB010101001005","墙面乳胶漆",null,"1、项目特征：腻子粉打底，找平打磨，立邦漆\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"208.000"]
[]
["5","ZB010101001006","衣柜",null,"1、项目特征：2m*2.5m，免漆板定制安装\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"20.000"]
[]
["6","ZB010101001007","踢脚线",null,"1、项目特征：竹木纤维踢脚线粘贴\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m",null,"64.000"]
[]
[]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：融城宿舍改造(没有卫生间）",{"$nulls":5},"标段：",{"$nulls":4},"第2页 共5页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["7","ZB010101001008","门",null,"1、项目特征：强化实木复合门,含门锁、五金\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","樘",null,"4.000"]
[]
["8","ZB010101001009","筒灯",null,"1、项目特征：5瓦筒灯，以实际发生量为准\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","个",null,"28.000"]
[]
["9","ZB010101001010","书桌",null,"1、项目特征：免漆板定制安装\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m",null,"6.000"]
[]
["10","ZB010101001011","窗帘盒",null,"1、项目特征：木方骨架，9mm厚石膏板封面，干壁钉固定\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m",null,"6.000"]
[]
["11","ZB010101001012","窗帘",null,"1、项目特征：一层纱一层布\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m",null,"12.000"]
[]
["12","ZB010101001021","卫生间防水",null,"1、项目特征：德高防水，地面满做，墙面做到1.8m高度\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","项",null,"4.000"]
{"$rows_empty":7}
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：融城宿舍改造(没有卫生间）",{"$nulls":5},"标段：",{"$nulls":4},"第3页 共5页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["13","ZB010101001022","卫生间墙砖",null,"1、项目特征：400*800广东瓷砖，沙子、水泥、人工，不含美缝，以样品为准\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"68.000"]
[]
["14","ZB010101001023","卫生间地砖",null,"1、项目特征：800*800广东瓷砖，沙子、水泥、人工，不含美缝，以样品为准\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"12.000"]
[]
["15","ZB010101001024","卫生间集成顶",null,"1、项目特征：300*300集成吊顶，不含灯具\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"12.000"]
[]
["16","ZB010101001025","卫生间马桶",null,"1、项目特征：成品安装，以样品为准\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","个",null,"4.000"]
[]
["17","ZB010101001026","淋浴隔断",null,"1、项目特征：10mm厚钢化玻璃，不锈钢边框\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"13.200"]
[]
["18","ZB010101001027","浴霸",null,"1、项目特征：2400瓦，浴霸及LED灯，成品安装，以样品为准\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","个",null,"4.000"]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：融城宿舍改造(没有卫生间）",{"$nulls":5},"标段：",{"$nulls":4},"第4页 共5页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["19","ZB010101001028","花洒",null,"1、项目特征：不锈钢花洒，以样品为准\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","个",null,"4.000"]
[]
["20","ZB010101001029","拆除",null,"1、项目特征：开门洞，人工\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","项",null,"4.000"]
[]
["21","ZB010101001030","新建墙体",null,"1、项目特征：12mm厚加砌砖，含网格布，抗裂砂浆\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"56.000"]
[]
["22","ZB010101001013","床、床垫",null,"1、项目特征：成品安装，以样品为准\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","套",null,"4.000"]
[]
["23","ZB010101001014","卫生间门",null,"1、项目特征：铝合金门\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","樘",null,"4.000"]
[]
["24","ZB010101001015","卫生间洗漱台",null,"1、项目特征：规格：60cm长洗手池，含镜子，台面柜体，台盆，以样品为准\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","个",null,"4.000"]
{"$rows_empty":7}
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：融城宿舍改造(没有卫生间）",{"$nulls":5},"标段：",{"$nulls":4},"第5页 共5页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["25","ZB010101001017","热水器",null,"1、项目特征：品牌：主流品牌，60升电热水器，以样品为准\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","套",null,"4.000"]
[]
["26","ZB010101001018","空调",null,"1、项目特征：品牌：主流品牌，1.5匹挂式空调，以样品为准。\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","个",null,"4.000"]
[]
["27","ZB010101001019","排水电",null,"1、项目特征：联塑水管，国标电线，不含开关插座\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"80.000"]
[]
["28","ZB010101001020","开关、插座",null,"1、项目特征：公牛开关、插座\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","项",null,"4.000"]
{"$rows_empty":17}
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.2 附录F 措施项目清单计价表","index":4,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,0,41,7],[43,2,43,8]]}
["附录F 措施项目清单与计价表"]
["工程名称：融城宿舍改造(没有卫生间）",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基础","费率（%）",null,"金额（元）"]
["1","ZC-01",null,"夜间施工增加费",null,null,"0.500"]
["2","ZC-02",null,"二次搬运费",null,null,"1.200"]
["3","ZC-03",null,"冬雨季施工增加费",null,null,"0.700"]
["4","ZC-04",null,"已完工程及设备保护费",null,null,"0.500"]
["5","ZC-05",null,"工程定位复测费",null,null,"0.800"]
["6","ZC-06",null,"非夜间施工照明费",null,null,"0.400"]
["7","ZC-07",null,"临时保护设施费",null,null,"0.100"]
["8","ZC-08",null,"赶工措施费",null,null,"2.100"]
{"$rows_empty":30}
["合   计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.3 附录G 不可竞争项目清单与计价表","index":5,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,0,41,7],[43,2,43,8]]}
["附录G 不可竞争项目清单与计价表"]
["工程名称：融城宿舍改造(没有卫生间）",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基数","费率（%）",null,"金额（元）"]
["1","ZF-01",null,"环境保护费",null,null,"2.600"]
["2","ZF-02",null,"文明施工费",null,null,"4.500"]
["3","ZF-03",null,"安全施工费",null,null,"3.100"]
["4","ZF-04",null,"临时设施费",null,null,"5.800"]
["5","ZF-05",null,"环境保护税",null,null,""]
{"$rows_empty":33}
["合   计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.4 H.1 其他项目清单与计价汇总表","index":6,"n_rows":44,"n_cols":6,"rows_kept":44,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[2,1,2,3],[2,4,2,5],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[7,1,7,3],[7,4,7,5],[8,1,8,3],[8,4,8,5],[9,1,9,3],[9,4,9,5],[10,1,10,3],[10,4,10,5],[11,1,11,3],[11,4,11,5],[12,1,12,3],[12,4,12,5],[13,1,13,3],[13,4,13,5],[14,1,14,3],[14,4,14,5],[15,1,15,3],[15,4,15,5],[16,1,16,3],[16,4,16,5],[17,1,17,3],[17,4,17,5],[18,1,18,3],[18,4,18,5],[19,1,19,3],[19,4,19,5],[20,1,20,3],[20,4,20,5],[21,1,21,3],[21,4,21,5],[22,1,22,3],[22,4,22,5],[23,1,23,3],[23,4,23,5],[24,1,24,3],[24,4,24,5],[25,1,25,3],[25,4,25,5],[26,1,26,3],[26,4,26,5],[27,1,27,3],[27,4,27,5],[28,1,28,3],[28,4,28,5],[29,1,29,3],[29,4,29,5],[30,1,30,3],[30,4,30,5],[31,1,31,3],[31,4,31,5],[32,1,32,3],[32,4,32,5],[33,1,33,3],[33,4,33,5],[34,1,34,3],[34,4,34,5],[35,1,35,3],[35,4,35,5],[36,1,36,3],[36,4,36,5],[37,1,37,3],[37,4,37,5],[38,1,38,3],[38,4,38,5],[39,1,39,3],[39,4,39,5],[40,1,40,3],[40,4,40,5],[41,0,41,3],[41,4,41,5],[43,2,43,5]]}
["H.1 其他项目清单与计价汇总表"]
["工程名称：融城宿舍改造(没有卫生间）",null,null,"标段：",null,"第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,""]
["2","专业工程暂估价",null,null,""]
["3","计日工",null,null,""]
["4","总承包服务费",null,null,""]
{"$rows_empty":34}
["合  计",{"$nulls":3},""]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.5 附录I 税金计价表","index":7,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,5],[1,6,1,8],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[39,1,39,2],[39,3,39,4],[39,5,39,6],[40,0,40,7],[42,2,42,8]]}
["附录I 税金计价表"]
["工程名称：融城宿舍改造(没有卫生间）",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"费率(％)","金额(元)"]
["1","增值税",null,"分部分项工程费+措施项目费+不可竞争费+其他项目费",{"$nulls":3},"12.000"]
{"$rows_empty":36}
["合  计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"4.1 E.1 分部分项工程量清单计价表","index":8,"n_rows":106,"n_cols":14,"rows_kept":106,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,13],[3,8,4,8],[3,9,4,9],[3,10,3,13],[4,10,4,11],[5,0,6,0],[5,1,6,1],[5,2,6,3],[5,4,6,4],[5,5,6,6],[5,7,6,7],[5,8,6,8],[5,9,6,9],[5,10,6,11],[5,12,6,12],[5,13,6,13],[7,0,8,0],[7,1,8,1],[7,2,8,3],[7,4,8,4],[7,5,8,6],[7,7,8,7],[7,8,8,8],[7,9,8,9],[7,10,8,11],[7,12,8,12],[7,13,8,13],[9,0,10,0],[9,1,10,1],[9,2,10,3],[9,4,10,4],[9,5,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,11],[9,12,10,12],[9,13,10,13],[11,0,12,0],[11,1,12,1],[11,2,12,3],[11,4,12,4],[11,5,12,6],[11,7,12,7],[11,8,12,8],[11,9,12,9],[11,10,12,11],[11,12,12,12],[11,13,12,13],[13,0,14,0],[13,1,14,1],[13,2,14,3],[13,4,14,4],[13,5,14,6],[13,7,14,7],[13,8,14,8],[13,9,14,9],[13,10,14,11],[13,12,14,12],[13,13,14,13],[15,0,16,0],[15,1,16,1],[15,2,16,3],[15,4,16,4],[15,5,16,6],[15,7,16,7],[15,8,16,8],[15,9,16,9],[15,10,16,11],[15,12,16,12],[15,13,16,13],[17,2,17,3],[17,5,17,6],[17,10,17,11],[18,0,18,13],[20,3,20,13],[21,0,21,13],[22,0,22,5],[22,6,22,10],[22,11,22,13],[23,0,25,0],[23,1,25,1],[23,2,25,3],[23,4,25,4],[23,5,25,6],[23,7,25,7],[23,8,23,13],[24,8,25,8],[24,9,25,9],[24,10,24,13],[25,10,25,11],[26,0,27,0],[26,1,27,1],[26,2,27,3],[26,4,27,4],[26,5,27,6],[26,7,27,7],[26,8,27,8],[26,9,27,9],[26,10,27,11],[26,12,27,12],[26,13,27,13],[28,0,29,0],[28,1,29,1],[28,2,29,3],[28,4,29,4],[28,5,29,6],[28,7,29,7],[28,8,29,8],[28,9,29,9],[28,10,29,11],[28,12,29,12],[28,13,29,13],[30,0,31,0],[30,1,31,1],[30,2,31,3],[30,4,31,4],[30,5,31,6],[30,7,31,7],[30,8,31,8],[30,9,31,9],[30,10,31,11],[30,12,31,12],[30,13,31,13],[32,0,33,0],[32,1,33,1],[32,2,33,3],[32,4,33,4],[32,5,33,6],[32,7,33,7],[32,8,33,8],[32,9,33,9],[32,10,33,11],[32,12,33,12],[32,13,33,13],[34,0,35,0],[34,1,35,1],[34,2,35,3],[34,4,35,4],[34,5,35,6],[34,7,35,7],[34,8,35,8],[34,9,35,9],[34,10,35,11],[34,12,35,12],[34,13,35,13],[36,0,37,0],[36,1,37,1],[36,2,37,3],[36,4,37,4],[36,5,37,6],[36,7,37,7],[36,8,37,8],[36,9,37,9],[36,10,37,11],[36,12,37,12],[36,13,37,13],[38,0,39,0],[38,1,39,1],[38,2,39,3],[38,4,39,4],[38,5,39,6],[38,7,39,7],[38,8,39,8],[38,9,39,9],[38,10,39,11],[38,12,39,12],[38,13,39,13],[40,0,40,13],[41,3,41,13],[42,0,42,13],[43,0,43,5],[43,6,43,10],[43,11,43,13],[44,0,46,0],[44,1,46,1],[44,2,46,3],[44,4,46,4],[44,5,46,6],[44,7,46,7],[44,8,44,13],[45,8,46,8],[45,9,46,9],[45,10,45,13],[46,10,46,11],[47,0,48,0],[47,1,48,1],[47,2,48,3],[47,4,48,4],[47,5,48,6],[47,7,48,7],[47,8,48,8],[47,9,48,9],[47,10,48,11],[47,12,48,12],[47,13,48,13],[49,0,50,0],[49,1,50,1],[49,2,50,3],[49,4,50,4],[49,5,50,6],[49,7,50,7],[49,8,50,8],[49,9,50,9],[49,10,50,11],[49,12,50,12],[49,13,50,13],[51,0,52,0],[51,1,52,1],[51,2,52,3],[51,4,52,4],[51,5,52,6],[51,7,52,7],[51,8,52,8],[51,9,52,9],[51,10,52,11],[51,12,52,12],[51,13,52,13],[53,0,54,0],[53,1,54,1],[53,2,54,3],[53,4,54,4],[53,5,54,6],[53,7,54,7],[53,8,54,8],[53,9,54,9],[53,10,54,11],[53,12,54,12],[53,13,54,13],[55,0,56,0],[55,1,56,1],[55,2,56,3],[55,4,56,4],[55,5,56,6],[55,7,56,7],[55,8,56,8],[55,9,56,9],[55,10,56,11],[55,12,56,12],[55,13,56,13],[57,0,58,0],[57,1,58,1],[57,2,58,3],[57,4,58,4],[57,5,58,6],[57,7,58,7],[57,8,58,8],[57,9,58,9],[57,10,58,11],[57,12,58,12],[57,13,58,13],[59,2,59,3],[59,5,59,6],[59,10,59,11],[60,0,60,13],[62,3,62,13],[63,0,63,13],[64,0,64,5],[64,6,64,10],[64,11,64,13],[65,0,67,0],[65,1,67,1],[65,2,67,3],[65,4,67,4],[65,5,67,6],[65,7,67,7],[65,8,65,13],[66,8,67,8],[66,9,67,9],[66,10,66,13],[67,10,67,11],[68,0,69,0],[68,1,69,1],[68,2,69,3],[68,4,69,4],[68,5,69,6],[68,7,69,7],[68,8,69,8],[68,9,69,9],[68,10,69,11],[68,12,69,12],[68,13,69,13],[70,2,70,3],[70,5,70,6],[70,10,70,11],[71,2,71,3],[71,5,71,6],[71,10,71,11],[72,2,72,3],[72,5,72,6],[72,10,72,11],[73,2,73,3],[73,5,73,6],[73,10,73,11],[74,2,74,3],[74,5,74,6],[74,10,74,11],[75,2,75,3],[75,5,75,6],[75,10,75,11],[76,2,76,3],[76,5,76,6],[76,10,76,11],[77,2,77,3],[77,5,77,6],[77,10,77,11],[78,2,78,3],[78,5,78,6],[78,10,78,11],[79,2,79,3],[79,5,79,6],[79,10,79,11],[80,2,80,3],[80,5,80,6],[80,10,80,11],[81,2,81,3],[81,5,81,6],[81,10,81,11],[82,2,82,3],[82,5,82,6],[82,10,82,11],[83,2,83,3],[83,5,83,6],[83,10,83,11],[84,2,84,3],[84,5,84,6],[84,10,84,11],[85,2,85,3],[85,5,85,6],[85,10,85,11],[86,2,86,3],[86,5,86,6],[86,10,86,11],[87,2,87,3],[87,5,87,6],[87,10,87,11],[88,2,88,3],[88,5,88,6],[88,10,88,11],[89,2,89,3],[89,5,89,6],[89,10,89,11],[90,2,90,3],[90,5,90,6],[90,10,90,11],[91,2,91,3],[91,5,91,6],[91,10,91,11],[92,2,92,3],[92,5,92,6],[92,10,92,11],[93,2,93,3],[93,5,93,6],[93,10,93,11],[94,2,94,3],[94,5,94,6],[94,10,94,11],[95,2,95,3],[95,5,95,6],[95,10,95,11],[96,2,96,3],[96,5,96,6],[96,10,96,11],[97,2,97,3],[97,5,97,6],[97,10,97,11],[98,2,98,3],[98,5,98,6],[98,10,98,11],[99,2,99,3],[99,5,99,6],[99,10,99,11],[100,2,100,3],[100,5,100,6],[100,10,100,11],[101,2,101,3],[101,5,101,6],[101,10,101,11],[102,2,102,3],[102,5,102,6],[102,10,102,11],[103,0,103,13],[105,3,105,13]]}
["E.1 分部分项工程量清单计价表"]
["工程名称：融城宿舍改造(现有卫生间）",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共4页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["1","ZB010101001001","平顶",null,"1、项目特征：轻钢龙骨骨架或木方骨架，9mm厚石膏板封面，干壁钉固定，单层泰山石膏板\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"30.000"]
[]
["2","ZB010101001002","封柜头",null,"1、项目特征：轻钢龙骨骨架或木方骨架，9mm厚石膏板封面，干壁钉固定，单层泰山石膏板\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m",null,"4.000"]
[]
["3","ZB010101001003","木地板",null,"1、项目特征：复合木地板铺贴，人工，辅材\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m",null,"32.000"]
[]
["4","ZB010101001004","顶面乳胶漆",null,"1、项目特征：腻子粉打底，找平打磨，立邦漆\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"32.000"]
[]
["5","ZB010101001005","墙面乳胶漆",null,"1、项目特征：腻子粉打底，找平打磨，立邦漆\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"104.000"]
[]
["6","ZB010101001006","衣柜",null,"1、项目特征：2m*2.5m，免漆板定制安装\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"10.000"]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：融城宿舍改造(现有卫生间）",{"$nulls":5},"标段：",{"$nulls":4},"第2页 共4页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["7","ZB010101001007","踢脚线",null,"1、项目特征：竹木纤维踢脚线粘贴\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m",null,"32.000"]
[]
["8","ZB010101001008","门",null,"1、项目特征：强化实木复合门,含门锁、五金\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","樘",null,"2.000"]
[]
["9","ZB010101001009","筒灯",null,"1、项目特征：5瓦筒灯，以实际发生量为准\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","个",null,"14.000"]
[]
["10","ZB010101001010","书桌",null,"1、项目特征：免漆板定制安装\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m",null,"3.000"]
[]
["11","ZB010101001011","窗帘盒",null,"1、项目特征：木方骨架，9mm厚石膏板封面，干壁钉固定\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m",null,"4.000"]
[]
["12","ZB010101001012","窗帘",null,"1、项目特征：一层纱一层布\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m",null,"8.000"]
[]
["13","ZB010101001013","床、床垫",null,"1、项目特征：成品安装，以样品为准\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","套",null,"2.000"]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：融城宿舍改造(现有卫生间）",{"$nulls":5},"标段：",{"$nulls":4},"第3页 共4页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["14","ZB010101001014","卫生间门",null,"1、项目特征：铝合金门\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","樘",null,"2.000"]
[]
["15","ZB010101001015","卫生间洗漱台",null,"1、项目特征：规格：60cm长洗手池，含镜子，台面柜体，台盆，以样品为准\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","个",null,"2.000"]
[]
["16","ZB010101001016","包下水管",null,"1、项目特征：隔音棉包管，瓷砖包柱\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m",null,"5.000"]
[]
["17","ZB010101001017","热水器",null,"1、项目特征：品牌：主流品牌，60升电热水器，以样品为准。\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","套",null,"2.000"]
[]
["18","ZB010101001018","空调",null,"1、项目特征：品牌：主流品牌，1.5匹挂式空调，以样品为准。\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","个",null,"2.000"]
[]
["19","ZB010101001019","排水电",null,"1、项目特征：联塑水管，国标电线，不含开关插座\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","m2",null,"40.000"]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：融城宿舍改造(现有卫生间）",{"$nulls":5},"标段：",{"$nulls":4},"第4页 共4页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["20","ZB010101001020","开关、插座",null,"1、项目特征：公牛开关、插座\n2、其它：未尽事宜详见施工图纸、规范要求并满足业主使用要求","项",null,"2.000"]
{"$rows_empty":36}
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"4.2 附录F 措施项目清单计价表","index":9,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,0,41,7],[43,2,43,8]]}
["附录F 措施项目清单与计价表"]
["工程名称：融城宿舍改造(现有卫生间）",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基础","费率（%）",null,"金额（元）"]
["1","ZC-01",null,"夜间施工增加费",null,null,"0.500"]
["2","ZC-02",null,"二次搬运费",null,null,"1.200"]
["3","ZC-03",null,"冬雨季施工增加费",null,null,"0.700"]
["4","ZC-04",null,"已完工程及设备保护费",null,null,"0.500"]
["5","ZC-05",null,"工程定位复测费",null,null,"0.800"]
["6","ZC-06",null,"非夜间施工照明费",null,null,"0.400"]
["7","ZC-07",null,"临时保护设施费",null,null,"0.100"]
["8","ZC-08",null,"赶工措施费",null,null,"2.100"]
{"$rows_empty":30}
["合   计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"4.3 附录G 不可竞争项目清单与计价表","index":10,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,0,41,7],[43,2,43,8]]}
["附录G 不可竞争项目清单与计价表"]
["工程名称：融城宿舍改造(现有卫生间）",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基数","费率（%）",null,"金额（元）"]
["1","ZF-01",null,"环境保护费",null,null,"2.600"]
["2","ZF-02",null,"文明施工费",null,null,"4.500"]
["3","ZF-03",null,"安全施工费",null,null,"3.100"]
["4","ZF-04",null,"临时设施费",null,null,"5.800"]
["5","ZF-05",null,"环境保护税",null,null,""]
{"$rows_empty":33}
["合   计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"4.4 H.1 其他项目清单与计价汇总表","index":11,"n_rows":44,"n_cols":6,"rows_kept":44,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[2,1,2,3],[2,4,2,5],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[7,1,7,3],[7,4,7,5],[8,1,8,3],[8,4,8,5],[9,1,9,3],[9,4,9,5],[10,1,10,3],[10,4,10,5],[11,1,11,3],[11,4,11,5],[12,1,12,3],[12,4,12,5],[13,1,13,3],[13,4,13,5],[14,1,14,3],[14,4,14,5],[15,1,15,3],[15,4,15,5],[16,1,16,3],[16,4,16,5],[17,1,17,3],[17,4,17,5],[18,1,18,3],[18,4,18,5],[19,1,19,3],[19,4,19,5],[20,1,20,3],[20,4,20,5],[21,1,21,3],[21,4,21,5],[22,1,22,3],[22,4,22,5],[23,1,23,3],[23,4,23,5],[24,1,24,3],[24,4,24,5],[25,1,25,3],[25,4,25,5],[26,1,26,3],[26,4,26,5],[27,1,27,3],[27,4,27,5],[28,1,28,3],[28,4,28,5],[29,1,29,3],[29,4,29,5],[30,1,30,3],[30,4,30,5],[31,1,31,3],[31,4,31,5],[32,1,32,3],[32,4,32,5],[33,1,33,3],[33,4,33,5],[34,1,34,3],[34,4,34,5],[35,1,35,3],[35,4,35,5],[36,1,36,3],[36,4,36,5],[37,1,37,3],[37,4,37,5],[38,1,38,3],[38,4,38,5],[39,1,39,3],[39,4,39,5],[40,1,40,3],[40,4,40,5],[41,0,41,3],[41,4,41,5],[43,2,43,5]]}
["H.1 其他项目清单与计价汇总表"]
["工程名称：融城宿舍改造(现有卫生间）",null,null,"标段：",null,"第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,""]
["2","专业工程暂估价",null,null,""]
["3","计日工",null,null,""]
["4","总承包服务费",null,null,""]
{"$rows_empty":34}
["合  计",{"$nulls":3},""]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"4.5 附录I 税金计价表","index":12,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,5],[1,6,1,8],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[39,1,39,2],[39,3,39,4],[39,5,39,6],[40,0,40,7],[42,2,42,8]]}
["附录I 税金计价表"]
["工程名称：融城宿舍改造(现有卫生间）",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"费率(％)","金额(元)"]
["1","增值税",null,"分部分项工程费+措施项目费+不可竞争费+其他项目费",{"$nulls":3},"12.000"]
{"$rows_empty":36}
["合  计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]